## Slide 1
We will start the webinar shortly
Please place your phone/PC on mute during the presentation
The webinar will be recorded, a copy of the recording will be sent to you
Feel free to ask questions throughout the presentation via the Q/A or chat pod
WELCOME

## Slide 2: CEMS Technology for Alberta CEMS compliance
Mr. Nilesh Davé
Sales Manager
(403) 532-9909

## Slide 3: Agenda
Introduction to Thermo Fisher Scientific
Environment and Process Monitoring
  Instrument Manufacturer
  Markets / Industries Served
  What is CEMS and Why do we use them?
CEMS Basic Techniques and Technologies
  Sampling Techniques
  Principles of Gas Measurement
  Communications
Design Considerations
Gas Analyzer and Functions available
Discuss 2018 AB CEMS code draft

## Slide 4: A Mission we are proud of
We enable our customers to make the world healthier, cleaner and safer
Notes: Talking points:
At our core we are scientists and our purpose is to enable our customers to fulfill their scientific purpose

## Slide 5
The world leader in serving science
invested in R&D
$1B
R&D Scientists/Engineers
5,000
employees
70,000
in revenues
$23B
Notes: Talking points
Thermo Fisher “At a Glance”
We never leave a customer behind
Unmatched capabilities
Here’s what we are hearing/seeing/understanding in the market based on customers like you….
About us
Employees = global thought-leadership in all areas of science and harnessing the power of all that knowledge (10,000 customer-facing, so we can always be there for our customers)
Scientists = no matter what science, we have focused experts and scientists in-house that are focused on the same things
R&D = we are committed to advancing science and staying ahead of innovation
Revenues = we are not going anywhere, ‘insurance policy’

## Slide 6: Environment and Process Monitoring
Headquartered in Franklin, Massachusetts
Three global manufacturing sites, four systems integration facilities
Global sales presence, more than 100 distributors in 30+ countries
More than 100 products using innovative, advanced technologies
Industrial Hygiene
Ambient Air
Source

## Slide 7: Industry and Markets
Industries Served Include
Oil and Gas
Power Generation
Pulp & Paper
Waste Incineration
Cement

## Slide 8: What is CEMS and why do we use them?
CEMS – Continuous Emissions Monitoring System
  Probe
  Umbilical
  Analyzers
  DAHS (Data Acquisition Handling System)
    Others PLC, Calibration Gas..
Government regulatory agencies, want to know the criteria pollutants emitted into the atmosphere.
Thus Federal and Provincial CEMS Codes were generated.

## Slide 9: Sample Acquisition Techniques
In-Situ Systems
  Cross Stack
  In Stack
Full Extractive Systems
  Cold/Dry
  Hot/Wet
Dilution-Extractive Systems
  Wet Basis Dilution
  Dry Basis Dilution

## Slide 10: In-Situ Cross Stack and Point
Support Tube
Sensing Volume
Cross Stack
In Stack

## Slide 11: Overview of CEMS Technologies Dilution vs. Full Extractive Sampling System
Full Extractive
Dilution Extractive
Heated umbilical

## Slide 12: Extractive CEMS

## Slide 13: What Types Of Systems – Full Extractive
  Full-Extractive (Non-dilution)
    Extractive because the sample is removed from the stack before analysis
    No dilution takes place
    Typically a Cold/Dry sample
      Sample conditioner removes the moisture
    Also available as Hot/Wet system (i.e.; FTIR)
  Full Extractive Hot Wet
    Used for the FTIR System
    THC analyzers at Cement Plants

## Slide 14: What Types Of Systems – Dilution Extractive
  Dilution-Extractive:
    Extractive because the sample is removed from the stack before analysis
    Dilution because the sample is diluted (typically at the stack) with clean dry air 100:1
    We offer both wet basis and dry basis dilution systems

## Slide 15: Full Extractive – Hot / Wet Basis

## Slide 16: Full Extractive - Dry Basis
Moisture Removed by sample chiller

## Slide 17: Wet Basis Dilution
Dry Instrument/dilution Air
Sample is diluted, but no Moisture Is removed from the sample

## Slide 18: Dry Basis Dilution
Moisture is removed and then the sample is diluted
Dry Instrument/dilution Air

## Slide 19: Design Considerations
Mitigate Risk
  Reduce the need to work on the stack
Is it designed for our weather? Down to -40C or lower
Increase your chances of passing RATA. (RATA – Relative Accuracy Test Audit)
  Use “like” technologies
Increase your CEMS availability. 90%> is required to be in compliance
  Choosing instrumentation which can assist in predictive diagnostics and proactive communication
Support
  Local sales and service
  Must know your plant and regulations
  All Stack Testers in Alberta use our analyzers
Value - Total Cost of Operations
Impact of Covid – Deal with companies with strong balance sheet

## Slide 20: Introducing the iQ Series
Thermo Scientific gives customers a smart environmental monitoring solution designed for reliability, easy operation, and proactive maintenance – resulting in more control over instrument performance, costs, workflow, and data accuracy and availability.
Notes: Thermo Scientific gives customers a smarter environmental monitoring solution – the iQ series platform; the iQ to work smarter -- designed for reliability, easy operation, and proactive maintenance – resulting in more control over instrument performance, costs, workflow, and data accuracy and availability.

## Slide 21: iQ Gas Analyzers Key Platform Features
  Plug and play distributed measurement and control modules
  7” color touch screen
  Multi-access USB capability
  Customized integral PM schedule
  Quad Core Processor
  DMC’s to address problems before the occur
  Get smarter over time
  Mobile apps to assist techs

## Slide 22: Non-Stop Intelligence
Predictive Diagnostics
Non – Stop intelligence
Address problems before they occur utilizing ‘smart’ Distributed Measurement Control (DMC) modules
Notes: Non-Stop Intelligence, how?...Predictive Diagnostics…prevent issues before they happen…we have moved some of the electronic control of our instruments from the common electronics to the measurement case…making our subassemblies communicate directly to the anlayzer’s brain…allowing them to tell the analyzer when they’re not feeling quite right…I’m working ok, no red flags but something isn’t right…the analyzer can then send a message recommending the hardware is looked at or replaced…

## Slide 23: Non-Stop Intelligence (continued)
Maintain optimum performance
through iQ 360 and email alerts
Proactive Communication
Non – Stop intelligence
Notes: Proactive communication – I just spoke of an example where the analyzer can reach out via e-mail…predictive diagnostics will generate an e-mail, preventive maintenance will generate an e-mail, alarms will generate an e-mail…but there are some other serviceability features designed in the the platform that proactively communicate more detailed information…Chris and Lars will talk a little more about that tomorrow as well as the iQ360 product, a 24/7 customer support service for rapid response to equipment and service needs...

## Slide 24: Non-Stop Intelligence (continued)
Real time 24/7 remote monitoring
through mobile phone app
Personal Device Connectivity
Non – Stop intelligence
Notes: iQ Mobile app
Initially just for IOS phones and tablets so your iPhones and iPads essentially, available for free download on the Apple App Store
  Mobile app benefits:
  24/7 continuous remote monitoring of analyzer suite
  Proactively receive alarm and maintenance alerts
  Access the most up to date analyzer resources (e.g. instrument manuals, specification sheets, how-to videos, maintenance logs, quick start guides)
  Order Services:
    Spare parts from www.analyticalinstruments.com
    Field Services Visit
    Calibration certificate
    Return request authorization

## Slide 25: Non-Stop Intelligence (continued)
To give you more control over
instrument performance,
data availability,
and your workday
Today and Tomorrow.
Predictive Diagnostics
Proactive Communication
Personal Device Connectivity
Non – Stop intelligence
Notes: Non-Stop Intelligence – Predictive Diagnostics, Proactive Communication, Personal Device Connectivity -- To give you more control over instrument performance, data availability, and your workday
Today and Tomorrow.

## Slide 26: iQ Interface

## Slide 27: iQ Interface Icon Help Guide
Icon | Functionality
 | Alarm status - shows that there is at least 1 alarm active. When pressed, sends user to the Status and Alarms screen.
 | Alert status - shows that there is at least 1 preventative maintenance alarm active. When pressed, sends user to the Status and Alarms screen.
 | Favorites – when pressed, sends user to the Favorites screen.
 | Thermo Scientific logo – when pressed, sends user to the Thermo Scientific Informational screen, which contains contact information for the Franklin, MA Thermo Scientific facility.
 | Icon shows up on pop-ups when there is a conflict created by the user (e.g. User enters concentration outside of acceptable limits)

## Slide 28: 43iQ
Inside of Analyzer
Back Panel

## Slide 29: iQ layout
Inside of Analyzer

## Slide 30: Principles of Gas Measurement
Pulsed Fluorescence
  SO2, H2S, TRS
Chemiluminescence
  NO/NO2/NOx, NH3 Slip
Non-Dispersive Infrared (NDIR) & Gas Filter Correlation
  CO, CO2, HCl, N2O, Multi-Gas Analyzer
Flame Ionization Detection & Gas Chromatography
  Total Hydrocarbons (THC), Methane/Non-Methane Hydrocarbons
Atomic Fluorescence
  Hg
Fourier Transform Infrared Spectroscopy
  Multi-Gas, NH3, HF, HCl, HCN

## Slide 31: Introducing the iQ App

## Slide 32: Supports the iQ Vision
Gives customers more control over their data and their day
Real time remote monitoring Readings and alarms
Less troubleshooting time Maintenance log display
Easier to operate Direct links to spare parts
Easier to maintain Instant access to docs

## Slide 33: Mobile App for iOS Platforms
Resources Page
Maintenance Alerts
Contact Page
Field Service Visit Form
  Available for free download on the Apple App and Google Play Store
  -Functional on both iOS and Android devices

## Slide 34: Available Digital Content for CEMS/Alberta CEMS Code
Video:
iQ360 remote servicing of iQ Gas Analyzers
42iQ components and improvements
43iQ components and improvements
iQ Series Gas Analyzers – This is true control
Digital Collateral:
42iQ low source NO-NO2-NOX Analyzer specification sheet
43iQ sulfur dioxide analyzer specification sheet
iQ Series Gas Analyzer spare parts catalog
iQ Series Gas Analyzer Platform Overview
Web:
  www.thermofisher.com/cems
  www.thermofisher.com/ABcemscode
  www.Thermofisher.com/iqseries

## Slide 35: Available Digital Content for CEMS/Alberta CEMS Code

## Slide 36: Thermo Scientific: Your Integrated Solutions Provider
Design – Project Management
Build
Service and Spare Parts
Technical Support - Training